## Slide 1
ChestInsight
AI/ML-Based Multi-Class Anomaly Detection in Chest X-Ray Images
MATLAB-only deep learning project
Detects and explains ten chest X-ray findings for research and academic use.
Project presentation
October 2026

## Slide 2
The clinical problem
Chest X-rays contain visual patterns that can be subtle, overlapping, and time-consuming to review.
A chest X-ray may include more than one finding.
High volume
Many images require rapid first-level review.
Subtle patterns
Early abnormalities may be hard to distinguish visually.
Multiple labels
A single image can carry several findings at the same time.
Project focus: generate consistent model scores that support review, not replace clinical judgment.
ChestInsight | MATLAB-only chest X-ray analysis
02

## Slide 3
Why this project matters
A useful academic system should make the model output understandable to the person using it.
Relevance
Faster review
A score can help prioritize images that deserve closer attention.
Clear output
The user sees the selected disease score and its decision threshold.
Explainable result
A saliency view highlights image regions that influenced the score.
The application is designed for project demonstrations, learning, and research evaluation.
ChestInsight | MATLAB-only chest X-ray analysis
03

## Slide 4
Project objective
Classify ten common chest X-ray findings and explain the selected result in a MATLAB interface.
The model produces an independent score for every finding.
Atelectasis
Cardiomegaly
Effusion
Infiltration
Mass
Nodule
Pneumonia
Pneumothorax
Consolidation
Edema
Selected disease: Cardiomegaly
ChestInsight | MATLAB-only chest X-ray analysis
04

## Slide 5
Solution boundaries
ChestInsight provides research scores and visual explanations, with clear limits on how results should be used.
What the system does
Accepts an X-ray
The user loads a PNG or uses the included example.
Calculates scores
The model returns one score for each of the ten findings.
Shows evidence
The result panel and saliency image explain the output.
What the system does not do
No diagnosis
It does not confirm disease or prescribe treatment.
No replacement
It cannot replace a radiologist or clinician.
No patient record
The demo does not manage hospital records or clinical workflow.
ChestInsight | MATLAB-only chest X-ray analysis
05

## Slide 6
Training data and labels
The MATLAB implementation uses a pilot dataset prepared from de-identified chest X-ray images.
Dataset prepared for this project
7,968 images
Images were split by patient into training, validation, and test sets.
Ten labels
Each image can have multiple labels, so the task is multi-label classification.
Held-out test set
A separate test split evaluates the saved model after training.
Source image names in the demo folder are examples only; labels can co-occur.
ChestInsight | MATLAB-only chest X-ray analysis
06

## Slide 7
Model architecture
A compact neural network was trained directly in MATLAB without a Python runtime.
Input image
Feature vector
Neural network
10 output scores
32 × 32 grayscale pixels
→
Normalized values
→
64 + 32 ReLU layers
→
Independent sigmoid outputs
Each output represents the model’s score for one finding. A saved threshold converts the selected score into an above/below threshold result.
Custom MATLAB training: weighted binary cross-entropy + Adam optimization
ChestInsight | MATLAB-only chest X-ray analysis
07

## Slide 8
MATLAB processing workflow
The application performs all preprocessing, scoring, charting, and reporting within MATLAB.
1
Load image
User selects an X-ray or opens the built-in example.
2
Preprocess
Convert to grayscale, resize to 32 × 32, and normalize pixels.
3
Predict
Run the trained MLP and calculate ten disease scores.
4
Explain
Build the saliency overlay and selected-disease chart.
Output files include the original image, enhancement, saliency map, model scores, and report image.
ChestInsight | MATLAB-only chest X-ray analysis
08

## Slide 9
ChestInsight application
The MATLAB interface brings the image, explanation map, selected score, and chart into one screen.
The current application view uses Cardiomegaly as the selected finding.
ChestInsight | MATLAB-only chest X-ray analysis
09

## Slide 10
How a user runs the application
The workflow is designed for a laptop demonstration with minimal steps.
1
Start MATLAB
Open Start MATLAB App.cmd from the project folder.
2
Choose X-ray
Click Choose X-ray or use the built-in example.
3
Select finding
Choose a target condition from the drop-down list.
4
Analyze
Click Analyze in MATLAB to generate the visual report.
ChestInsight | MATLAB-only chest X-ray analysis
10

## Slide 11
Reading the model result
The selected-disease panel gives a percentage, a threshold comparison, and a score chart.
Example from the application
Possibility score
The selected disease receives a model score shown as a percentage.
Threshold decision
The software compares that score with the saved research threshold.
All-score chart
Orange marks the selected disease. Other bars show the remaining model scores.
A score is a model output. It is not a confirmed clinical probability or diagnosis.
ChestInsight | MATLAB-only chest X-ray analysis
11

## Slide 12
Saliency explanation
The saliency overlay identifies image regions that most influenced the selected disease score.
How to interpret the colored image
Image gradients
MATLAB calculates how the selected output changes with the input pixels.
Color intensity
Brighter areas had greater influence on the model output.
Review aid
The overlay supports discussion of the model’s behavior during a demo.
Saliency does not outline a lesion and must not be treated as a diagnostic segmentation.
ChestInsight | MATLAB-only chest X-ray analysis
12

## Slide 13
Validation results
The saved MATLAB model was evaluated on a held-out test split after training.
Pilot evaluation
Test macro AUROC
0.593
Test average precision
0.117
Test F1 score
0.168
These pilot metrics establish a baseline. More representative data and model development are required before clinical use.
ChestInsight | MATLAB-only chest X-ray analysis
13

## Slide 14
Project strengths and limitations
The project demonstrates a complete MATLAB workflow while keeping the interpretation honest.
Strengths
MATLAB-only
Runs without Python, web hosting, or cloud services.
Simple output
Users can understand the selected score and chart quickly.
Visible reasoning
Saliency view makes the model’s focus discussable.
Limitations
Pilot baseline
Metrics do not support clinical deployment.
Image quality
Different scanners and projections can affect scores.
Label uncertainty
Chest X-ray labels may be incomplete or overlapping.
ChestInsight | MATLAB-only chest X-ray analysis
14

## Slide 15
Conclusion
ChestInsight converts a chest X-ray into understandable research scores for ten findings, plus a chart and saliency explanation.
Next project improvements
• Train with more verified images
• Compare with a larger CNN model
• Add clinician-reviewed evaluation
• Improve calibration and threshold selection
Thank you